## Slide 1
Need for equipment is identified.
Laboratory defines criteria for equipment.
Suppliers are qualified.
Suppliers are selected.
Approval list is maintained.
Equipment
Master
List
is maintained.
Purchasing contract is developed.
Equipment is received at the laboratory.
Equipment is maintained
Equipment is decommissioned.
Equipment is used for patient testing
Equipment is validated or verified. (ISO 7.3.2 and 7.3.3)
Purchasing fulfills the procurement agreement.
Equipment is repaired or received non-routine service.
Suppliers are evaluated.
Job Aid 1: Equipment Process Map2-25
EQUIPMENT MANAGEMENT
Equipment program is developed and implemented.
Equipment is installed.
Equipment is disposed
Equipment received routine serviced
Equipment is calibrated
Equipment is quality controlled. (ISO 7.3.7.2)
ISO 15189 6.4
IMPLEMENTATION
CONFIRMATION / VERIFICATION
ACQUISITION
SELECTION
Loaner equipment