Worksheet: QC Program Questions605

| Quality Assurance (QA) | Quality Control (QC) |
| --- | --- |
| QA monitors the accuracy, reliability and timeliness of the total testing process (pre-analytical, analytical, and post analytical). | QC monitors activities related to the analytical phase of testing. |

The following questions focus on QC.

- Is each test performed at your site included in your QC program?

If not, what challenges or issues do you encounter that prevent you from doing this at your laboratory?

- What is your viewpoint regarding a quality control program for the laboratory?

- Comment on the following regarding your actions and behavior as a manager as it relates to your site’s current QC program:

  - For each test done in your laboratory that has QC, is the QC satisfactory before patient results are reported?

  - Is there indication that the staff member who did the test evaluated and assessed the QC?

  - For tests done by each staff member, do you as the manager routinely monitor and review the QC records to ensure they are current and up-to-date?

  - If results are out of range or unacceptable has the appropriate corrective action been taken and documented by the staff member?

  - As the manager of the laboratory, do you enforce the expectations for QC performance and the requirement that patient results should not be released until QC is acceptable?

  - Why or why not for the above questions?

- Is your viewpoint (Question 2) regarding a quality control program consistent with your actions and behavior as a manager (Question 3)?  If not, what are the reasons behind this?

- List 2-3 reasons or examples for not performing QC

- List 2-3 reasons or examples for performing QC.

- In your opinion, can a laboratory manager provide quality results without a quality control program?  If not, why?  If so, why and how?

- What steps or elements does a manager need to consider when developing, implementing, and maintaining a quality control program?