Job Aid: Cross-Checking Guidelines804

Items to be verified prior to release of test results

| Completeness |  | Result Information |
| --- | --- | --- |
| - Each test has a corresponding result - Patient information - Clinical information - Provider information - Specimen information - Collection information - Initials of staff member who performed each test indicated - Date and time of report - Result information identical with log book |  | - Legible - Proper placement of decimals - Uniform result alignment with regards to decimal placement - Format of results corresponds with SOP - Proper units and significant places - Abbreviations used from approved list - Within instrument linearity - No associated instrument codes with regard to accuracy - Result corresponds with correct test - Diluted results multiplied with correct dilution factor - No consistent pattern or trend exhibited between patients for a specific analyte during cross-checking unless patient grouping under review is from the same diagnosis/population pool (i.e. Newborn H & H’s) |
| Critical (Panic Values) |  |  |
| - Result verified and verification documented - Documentation of result notification - On result report - In log book |  |  |
| Testing Priority |  | Appropriateness |
| - STAT requests communicated and documented - Delays communicated and documented |  | - Test relevant to patient’s age and gender - Result information makes clinical sense - Electrolytes - BUN/Creatinine - Macroscopic with microscopic - Instrument with smear - RBC Indices, RBC count, Hemoglobin and Hematocrit all show agreement |
| Specimen Rejection |  |  |
| - Reason for specimen rejection documented - Clinician and / or patient notified, and this notification is documented |  |  |